## Sheet1
RuleSet | rules
Import | com.example.alarmdrools.model.dto.Alarm
Notes | Decision Table for alarm correlation
RuleTable InterestCalculation
NAME | CONDITION | CONDITION | ACTION | ACTION | ACTION | ACTION | ACTION
alarm: Alarm
| alamAlarmType==$param | alarm.getDuration() >$param * 20 | alarm.setCause($param); | alarm.setType($param); | alarm.setImpact($param); | alarm.setWorkGroup($param); | alarm.setAction($param); System.out.println("Action:"+alarm.getAction());
NAME | Alarm Type | Alarm Duration | Set Cause | Set Type | Set Impact | Set WorkGroup | Set Action
External | "External Clock Reference Problem" | 10 | "BTS:CATEGORY" | "NETWORK_FAULT" | "LEVEL4" | "MBB_FO_RAN" | "FJW"
RF | "RF Unit Overload" | 10 | "BTS:CATEGORY" | "NETWORK_FAULT" | "LEVEL4" | "MBB_FO_RAN" | "FJW"
Clock | "Clock Reference abnormal Alarm" | 10 | "BTS:CATEGORY" | "NETWORK_FAULT" | "LEVEL4" | "MBB_FO_RAN" | "FJW"
RET | "RET Configuration Data Lost Alarm" | 10 | "BTS:CATEGORY" | "NETWORK_FAULT" | "LEVEL4" | "MBB_FO_RAN" | "FJW"
Inter BBU | "Inter-System BBU Board Parameter Settings Conflict" | 10 | "BTS:CATEGORY" | "NETWORK_FAULT" | "LEVEL4" | "MBB_FO_RAN" | "FJW"
Site-level | "Inter-System Site-Level Configuration Conflict" | 10 | "BTS:CATEGORY" | "NETWORK_FAULT" | "LEVEL4" | "MBB_FO_RAN" | "FJW"
RF ALD Current | "RF Unit ALD Current Out of Range" | 10 | "BTS:CATEGORY" | "NETWORK_FAULT" | "LEVEL4" | "MBB_FO_RAN" | "FJW"
RF Unit | "RF Unit Clock Problem" | 10 | "BTS:CATEGORY" | "NETWORK_FAULT" | "LEVEL4" | "MBB_FO_RAN" | "FJW"
RET Antena | "RET Antenna Motor Fault" | 10 | "BTS:CATEGORY" | "NETWORK_FAULT" | "LEVEL4" | "MBB_FO_RAN" | "FJW"
Door | "Door open" | 10 | "BTS:CATEGORY" | "NETWORK_FAULT" | "LEVEL4" | "MBB_FO_RAN" | "FJW"
Hearbeat | "Heartbeat Failure" | 10 | "BTS:CATEGORY" | "NETWORK_FAULT" | "LEVEL4" | "MBB_FO_RAN" | "FJW"
Battery | "Battery Missing" | 10 | "BTS:CATEGORY" | "NETWORK_FAULT" | "LEVEL4" | "MBB_FO_RAN" | "FJW"
Circuit | "Circuit Breaker Tripped" | 10 | "BTS:CATEGORY" | "NETWORK_FAULT" | "LEVEL4" | "MBB_FO_RAN" | "FJW"
Loss | "Loss of Mains" | 10 | "BTS:CATEGORY" | "NETWORK_FAULT" | "LEVEL4" | "MBB_FO_RAN" | "FJW"
PLMN | "PLMN Service Unavailable" | 10 | "BTS:CATEGORY" | "NETWORK_FAULT" | "LEVEL4" | "MBB_FO_RAN" | "FJW"