## Sheet1
RuleSet | rules
Import | com.example.alarmdrools.model.dto.Alarm
Notes | Decision Table for alarm correlation
RuleTable InterestCalculation
NAME | CONDITION | CONDITION | ACTION | ACTION | ACTION | ACTION | ACTION | ACTION
alarm: Alarm
| alamAlarmType==$param | alarm.getDuration() >$param * 20 | alarm.setCause($param); | alarm.setType($param); | alarm.setImpact($param); | alarm.setWorkGroup($param); | alarm.setAction($param); System.out.println("Action:"+alarm.getAction()); | alarm.setWorkOrder($param);
NAME | Alarm Type | Alarm Duration | Set Cause | Set Type | Set Impact | Set WorkGroup | Set Action | SET WorkOrdere
External Clock Reference Problem | "External Clock Reference Problem" | 10 | "BTS:CATEGORY" | "NETWORK_FAULT" | "LEVEL4" | "MBB_FO_RAN" | "FJW" | "FO_H_SUPPORT"
RF Unit Overload | "RF Unit Overload" | 10 | "BTS:CATEGORY" | "NETWORK_FAULT" | "LEVEL4" | "MBB_FO_RAN" | "FJW" | "NAK_BO_RANH"
Clock Reference abnormal Alarm | "Clock Reference abnormal Alarm" | 10 | "BTS:CATEGORY" | "NETWORK_FAULT" | "LEVEL4" | "MBB_FO_RAN" | "FJW" | "FO_H_SUPPORT"
RET Configuration Data Lost Alarm | "RET Configuration Data Lost Alarm" | 10 | "BTS:CATEGORY" | "NETWORK_FAULT" | "LEVEL4" | "MBB_FO_RAN" | "FJW" | "FO_H_SUPPORT"
Inter-System BBU Board Parameter Settings Conflict | "Inter-System BBU Board Parameter Settings Conflict" | 10 | "BTS:CATEGORY" | "NETWORK_FAULT" | "LEVEL4" | "MBB_FO_RAN" | "FJW" | "NAK_BO_RANH"
Inter-System Site-Level Configuration Conflict | "Inter-System Site-Level Configuration Conflict" | 10 | "BTS:CATEGORY" | "NETWORK_FAULT" | "LEVEL4" | "MBB_FO_RAN" | "FJW" | "NAK_BO_RANH"
RF Unit ALD Current Out of Range | "RF Unit ALD Current Out of Range" | 10 | "BTS:CATEGORY" | "NETWORK_FAULT" | "LEVEL4" | "MBB_FO_RAN" | "FJW" | "Province/FLM"
RF Unit ALD Switch Configuration Mismatch | "RF Unit ALD Switch Configuration Mismatch" | 10 | "BTS:CATEGORY" | "NETWORK_FAULT" | "LEVEL4" | "MBB_FO_RAN" | "FJW" | "Province/FLM"
RF Unit Clock Problem | "RF Unit Clock Problem" | 10 | "BTS:CATEGORY" | "NETWORK_FAULT" | "LEVEL4" | "MBB_FO_RAN" | "FJW" | "FO_H_SUPPORT"
RET Antenna Motor Fault | "RET Antenna Motor Fault" | 10 | "BTS:CATEGORY" | "NETWORK_FAULT" | "LEVEL4" | "MBB_FO_RAN" | "FJW" | "Province/FLM"
ALD Hardware Fault | "ALD Hardware Fault" | 10 | "BTS:CATEGORY" | "NETWORK_FAULT" | "LEVEL4" | "MBB_FO_RAN" | "FJW" | "Province/FLM"
RET Antenna Not Calibrated | "RET Antenna Not Calibrated" | 10 | "BTS:CATEGORY" | "NETWORK_FAULT" | "LEVEL4" | "MBB_FO_RAN" | "FJW" | "Province/FLM"
RET Antenna Data Loss | "RET Antenna Data Loss" | 10 | "BTS:CATEGORY" | "NETWORK_FAULT" | "LEVEL4" | "MBB_FO_RAN" | "FJW" | "FO_H_SUPPORT"
RET Antenna Running Data and Configuration Mismatch | "RET Antenna Running Data and Configuration Mismatch" | 10 | "BTS:CATEGORY" | "NETWORK_FAULT" | "LEVEL4" | "MBB_FO_RAN" | "FJW" | "FO_H_SUPPORT"
TMA Running Data and Configuration Mismatch | "TMA Running Data and Configuration Mismatch" | 10 | "BTS:CATEGORY" | "NETWORK_FAULT" | "LEVEL4" | "MBB_FO_RAN" | "FJW" | "FO_H_SUPPORT"
Archive Disk Almost Full | "Archive Disk Almost Full" | 10 | "BTS:CATEGORY" | "NETWORK_FAULT" | "MINOR" | "MBB_FO_RAN" | "FJW" | "NAK_BO_RANE"
Auto Export Backup Failed | "Auto Export Backup Failed" | 10 | "BTS:CATEGORY" | "NETWORK_FAULT" | "MINOR" | "MBB_FO_RAN" | "FJW" | "NAK_BO_RANE"
Autonomous Mode Activated | "Autonomous Mode Activated" | 10 | "BTS:CATEGORY" | "NETWORK_FAULT" | "MINOR" | "MBB_FO_RAN" | "FJW" | "NAK_BO_RANE"
Calendar Clock All NTP Servers Unavailable | "Calendar Clock All NTP Servers Unavailable" | 10 | "BTS:CATEGORY" | "NETWORK_FAULT" | "MINOR" | "MBB_FO_RAN" | "FJW" | "NAK_BO_RANE"
Calendar Clock Misaligned | "Calendar Clock Misaligned" | 10 | "BTS:CATEGORY" | "NETWORK_FAULT" | "MINOR" | "MBB_FO_RAN" | "FJW" | "NAK_BO_RANE"
Calendar Clock NTP Server Unavailable | "Calendar Clock NTP Server Unavailable" | 10 | "BTS:CATEGORY" | "NETWORK_FAULT" | "MINOR" | "MBB_FO_RAN" | "FJW" | "NAK_BO_RANE"
Calibration Failure | "Calibration Failure" | 10 | "BTS:CATEGORY" | "NETWORK_FAULT" | "MINOR" | "MBB_FO_RAN" | "FJW" | "Province/FLM"
Certificate Management a Valid Certificate is Not Available | "Certificate Management a Valid Certificate is Not Available" | 10 | "BTS:CATEGORY" | "NETWORK_FAULT" | "MINOR" | "MBB_FO_RAN" | "FJW" | "NAK_BO_RANE"
Certificate Management Automatic Enrollment Failed | "Certificate Management Automatic Enrollment Failed" | 10 | "BTS:CATEGORY" | "NETWORK_FAULT" | "MINOR" | "MBB_FO_RAN" | "FJW" | "NAK_BO_RANE"
Certificate Management the Certificate is to Expire | "Certificate Management the Certificate is to Expire" | 10 | "BTS:CATEGORY" | "NETWORK_FAULT" | "MINOR" | "MBB_FO_RAN" | "FJW" | "NAK_BO_RANE"
Climate Inconsistent Configuration | "Climate Inconsistent Configuration" | 10 | "BTS:CATEGORY" | "NETWORK_FAULT" | "LEVEL4" | "MBB_FO_RAN" | "FJW" | "Province/FLM"
Clock Reference Missing For Long Time | "Clock Reference Missing For Long Time" | 10 | "BTS:CATEGORY" | "NETWORK_FAULT" | "MINOR" | "MBB_FO_RAN" | "FJW" | "NAK_BO_RANE"
Clogged Air Filter | "Clogged Air Filter" | 10 | "BTS:CATEGORY" | "NETWORK_FAULT" | "LEVEL4" | "MBB_FO_RAN" | "FJW" | "Province/FLM"
Feature Resource Missing | "Feature Resource Missing" | 10 | "BTS:CATEGORY" | "NETWORK_FAULT" | "MINOR" | "MBB_FO_RAN" | "FJW" | "NAK_BO_RANE"
FrequencySyncIO Reference Failed | "FrequencySyncIO Reference Failed" | 10 | "BTS:CATEGORY" | "NETWORK_FAULT" | "MINOR" | "MBB_FO_RAN" | "FJW" | "NAK_BO_RANE"
Grace Period Activated | "Grace Period Activated" | 10 | "BTS:CATEGORY" | "NETWORK_FAULT" | "MINOR" | "MBB_FO_RAN" | "FJW" | "NAK_BO_RANE"
IKE Peer Certificate Fault | "IKE Peer Certificate Fault" | 10 | "BTS:CATEGORY" | "NETWORK_FAULT" | "MINOR" | "MBB_FO_RAN" | "FJW" | "NAK_BO_RANE"
IKE Peer Not Reachable | "IKE Peer Not Reachable" | 10 | "BTS:CATEGORY" | "NETWORK_FAULT" | "MINOR" | "MBB_FO_RAN" | "FJW" | "NAK_BO_RANE"
Incompatible HW Configuration | "Incompatible HW Configuration" | 10 | "BTS:CATEGORY" | "NETWORK_FAULT" | "LEVEL4" | "MBB_FO_RAN" | "FJW" | "Province/FLM"
Inconsistent Configuration | "Inconsistent Configuration" | 10 | "BTS:CATEGORY" | "NETWORK_FAULT" | "MINOR" | "MBB_FO_RAN" | "FJW" | "NAK_BO_RANE"
Indoor RAP Cable Insertion Loss | "Indoor RAP Cable Insertion Loss" | 10 | "BTS:CATEGORY" | "NETWORK_FAULT" | "LEVEL4" | "MBB_FO_RAN" | "FJW" | "Province/FLM"